“Automatically Generating Medical Reports from ECG Signals using Deep Learning”

https://arxiv.org/html/2412.04067v1, Banerjee et al.

This study introduces an innovative approach to text generation designed for ECG analysis, validated on the publicly available PTB-XL dataset [6]. In addition to achieving state-of-the-art performance, a key contribution of this work is the establishment of a reproducible benchmark for future studies, as our work is, to the best of our knowledge, first of its kind to be tested on the official test subset of the PTB-XL dataset, ensuring both transparency and comparability.

The method introduced in this study employs an encoder-decoder architecture, utilizing a ResNet-based encoder [7] paired with either an LSTM [8] or Transformer [9] decoder.

A key takeaway from these reviews is that the majority of existing ECG analysis methods focus primarily on the classification of ECG episodes, such as identifying atrial fibrillation (AF) or other abnormal heart rhythms. In contrast, the field of automated report generation for ECG data remains largely unexplored

Our LSTM-based model architecture: The ECG signal is input into the 1D ResNet34, producing 512 channels, each of a user-defined size x (x=240 in our best-performing model). An attention network aggregates the x temporal data points into a single value per channel, forming a 512-length embedding vector. The vector and current network state are used for predicting the next word

Encoder Pre-Training: In one configuration, we pre-trained the encoder using rhythm class labels as a preliminary task to strengthen ECG embeddings before fine-tuning on free-text reports

Splits for training:

PTB-XL: We tested two splitting approaches for this dataset. The first approach used the official splits provided by PhysioNet, which maintain patient exclusivity across splits and mitigate data leakage risks. These splits allocate 80% of data for training, 10% for validation, and 10% for testing, as further detailed in [6]

Evaluation:

BLEU, ROUGE and METEOR

MRScore: https://arxiv.org/abs/2404.17778

New lectures!

https://aclanthology.org/2023.findings-eacl.33/

Additionally, Qiu et al. introduced an Optimal Transport (OT)-based objective complementing the standard cross-entropy loss, to enhance alignment between ECG embeddings and language embeddings!!

M. G. Bartels, I. Najdenkoska, R. R. van de Leur, A. Sammani, K. Taha, D. M. Knigge, P. A. Doevendans, M. Worring, and R. van Es, “Learning to automatically generate accurate ecg captions,” in International Conference on Medical Imaging with Deep Learning.   PMLR, 2022, pp. 86–102.

Personal Conclusion: A 2nd approach to the problem is instead of fine-tuning LLMs, we could recreate our own model: a transformer encoder (combined input of ECG embeddings and tokenized report sequences) and LSTM decoder.

Check for abbreviation in reports! (see next page)

Questions to the authors:

Why not using multimodal LLMs? Why choose to recreate a whole infrastructure?

Not good at the time on the beginning of the research but interesting area to look in now

How did you align the distribution of the two embeddings space (the one of the encoder and of the decoder)?

Did not, lack of time

Based on your understanding, do you think it is possible to do longer reports? Have you done any work in that regards?

Yes

Do you personally believe ECG have the potential to capture even more information, as the one in the CMR reports?

What are your thoughts on the evaluation tools (BLEU ROUGE, METEOR)?

METEOR is the best

What about LLMs as a judge / evaluation, such as MRScore? And the Q&A approach (generating questions from the report and trying to answer them with the text generated)?

BERT score was not really helpful (99.9% and no emphasis on key clinical terms)

Advices: start with benchmarks because it is often needed (download online datasets)

Encoder-Decoder in a nutshell

We encode the ECG into a low-dimensional vector using a neural encoder.
A learned linear projection maps this vector into the LLM’s hidden dimension.
The LLM conditions on this vector to predict the next word in the report.
We compute cross-entropy loss between predicted token probabilities and the true report tokens.
Gradients update the ECG encoder and projection so that the ECG embedding becomes maximally useful for generating the correct CMR text.

| Replaced Term | Unified Form |
| --- | --- |
| @ | at |
| +, & | and |
| pac, pacs, sve, sves, apc, apcs | premature atrial contraction |
| pvc, pvcs, vpc, vpcs, ves | premature ventricular contraction |
| ectopic, ectopics, ectopy | premature contraction |
| brady | bradycardia |
| sb | sinus bradycardia |
| tachy, tachycardia | tachycardia |
| st | sinus tachycardia |
| svt | supraventricular tachycardia |
| nsvt | nonsustained ventricular tachycardia |
| sr | sinus rhythm |
| nsr | normal sinus rhythm |
| af, afib, a-fib | atrial fibrillation |
| afl, a-flutter, aflutter | atrial flutter |
| cw | continuous wave |
| rvr | rapid ventricular rate |
| ppm | permanent pacemaker |
| bpm | beats per minute |
| pat, pt | patient |
| bts | beats |
| wo, w/o | without |
| w, w/ | with |
| hr | heart rate |
| avb | atrioventricular block |

|  | description |
| --- | --- |
| NDT | non-diagnostic T abnormalities |
| NST_ | non-specific ST changes |
| DIG | digitalis-effect |
| LNGQT | long QT-interval |
| NORM | normal ECG |
| IMI | inferior myocardial infarction |
| ASMI | anteroseptal myocardial infarction |
| LVH | left ventricular hypertrophy |
| LAFB | left anterior fascicular block |
| ISC_ | non-specific ischemic |
| IRBBB | incomplete right bundle branch block |
| 1AVB | first degree AV block |
| IVCD | non-specific intraventricular conduction disturbance (block) |
| ISCAL | ischemic in anterolateral leads |
| CRBBB | complete right bundle branch block |
| CLBBB | complete left bundle branch block |
| ILMI | inferolateral myocardial infarction |
| LAO/LAE | left atrial overload/enlargement |
| AMI | anterior myocardial infarction |
| ALMI | anterolateral myocardial infarction |
| ISCIN | ischemic in inferior leads |
| INJAS | subendocardial injury in anteroseptal leads |
| LMI | lateral myocardial infarction |
| ISCIL | ischemic in inferolateral leads |
| LPFB | left posterior fascicular block |
| ISCAS | ischemic in anteroseptal leads |
| INJAL | subendocardial injury in anterolateral leads |
| ISCLA | ischemic in lateral leads |
| RVH | right ventricular hypertrophy |
| ANEUR | ST-T changes compatible with ventricular aneurysm |
| RAO/RAE | right atrial overload/enlargement |
| EL | electrolytic disturbance or drug (former EDIS) |
| WPW | Wolf-Parkinson-White syndrome |
| ILBBB | incomplete left bundle branch block |
| IPLMI | inferoposterolateral myocardial infarction |
| ISCAN | ischemic in anterior leads |
| IPMI | inferoposterior myocardial infarction |
| SEHYP | septal hypertrophy |
| INJIN | subendocardial injury in inferior leads |
| INJLA | subendocardial injury in lateral leads |
| PMI | posterior myocardial infarction |
| 3AVB | third degree AV block |
| INJIL | subendocardial injury in inferolateral leads |
| 2AVB | second degree AV block |
| ABQRS | abnormal QRS |
| PVC | ventricular premature complex |
| STD_ | non-specific ST depression |
| VCLVH | voltage criteria (QRS) for left ventricular hypertrophy |
| QWAVE | Q waves present |
| LOWT | low amplitude T-waves |
| NT_ | non-specific T-wave changes |
| PAC | atrial premature complex |
| LPR | prolonged PR interval |
| INVT | inverted T-waves |
| LVOLT | low QRS voltages in the frontal and horizontal leads |
| HVOLT | high QRS voltage |
| TAB_ | T-wave abnormality |
| STE_ | non-specific ST elevation |
| PRC(S) | premature complex(es) |
| SR | sinus rhythm |
| AFIB | atrial fibrillation |
| STACH | sinus tachycardia |
| SARRH | sinus arrhythmia |
| SBRAD | sinus bradycardia |
| PACE | normal functioning artificial pacemaker |
| SVARR | supraventricular arrhythmia |
| BIGU | bigeminal pattern (unknown origin, SV or Ventricular) |
| AFLT | atrial flutter |
| SVTAC | supraventricular tachycardia |
| PSVT | paroxysmal supraventricular tachycardia |
| TRIGU | trigeminal pattern (unknown origin, SV or Ventricular) |